SECTION 09 50 00

Acoustical Ceilings

Part 1 - General

1.1 RELATED DOCUMENTS

Drawings and general conditions of Contract, including General and Supplementary Conditions and Divisions-1 Specification sections apply to work of this section.
1.2 SUMMARY

A. Section Includes

1. Acoustical ceiling panels with phase change material

2. Acoustical ceiling panels 


3. Exposed grid suspension system


4. Wire hangers, fasteners, main runners, cross tees, and wall angle moldings


5. Perimeter Trim

B. Related Sections


1. Section 09 51 00 - Acoustical Ceilings 


2. Section 09 51 13 - Acoustical Fabric-Faced Panel Ceilings


3. Section 09 53 00 - Acoustical Ceiling Suspension Assemblies


4. Section 09 20 00 - Plaster and Gypsum Board


5. Section 01 81 13 - Sustainable Design Requirements


6. Section 01 81 19 - Indoor Air Quality Requirements


7. Section 02 42 00 - Removal and Salvage of Construction Materials

8. Divisions 23 - HVAC Air Distribution


9. Division 26 - Electrical 

C. Alternates


1.   Prior Approval: Unless otherwise provided for in the Contract documents, proposed product substitutions may be submitted no later than TEN (10) working days prior to the date established for receipt of bids.  Acceptability of a proposed substitution is contingent upon the Architect's review of the proposal for acceptability and approved products will be set forth by the Addenda.  If included in a Bid are substitute products that have not been approved by Addenda, the specified products shall be provided without additional compensation.


2. Submittals that do not provide adequate data for the product evaluation will not be considered.  The proposed substitution must meet all requirements of this section, including but not necessarily limited to, the following: phase change material (as specified in Section 2.2.1), Single source materials suppliers (if specified in Section 1.5); Underwriters' Laboratories Classified Acoustical performance; Panel design, size, composition, color, and finish; Suspension system component profiles and sizes; Compliance with the referenced standards.

1.3 REFERENCES

A. American Society for Testing and Materials (ASTM):


1. ASTM A 1008 Standard Specification for Steel, Sheet, Cold Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability


2. ASTM A 641 Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire


3. ASTM A 653 Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot-Dip Process 


4. ASTM C 423 Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method


5. ASTM C 635 Standard Specification for Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings


6. ASTM C 636 Recommended Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels


7. ASTM D 3273 Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber 


8. ASTM E 84 Standard Test Method for Surface Burning Characteristics of Building Materials


9. ASTM E 119 Standard Test Methods for Fire Tests of Building Construction and Material



A. Armstrong Fire Guard Products


10. ASTM E 580 Installation of Metal Suspension Systems in Areas Requiring Moderate Seismic Restraint


11. ASTM E 1111 Standard Test Method for Measuring the Interzone Attenuation of Ceilings Systems


12. ASTM E 1414 Standard Test Method for Airborne Sound Attenuation Between Rooms Sharing a Common Ceiling Plenum 


13. ASTM E 1264 Classification for Acoustical Ceiling Products


14. ASTM C1784 Standard Test Method for Using a Heat Flow Meter Apparatus for Measuring Thermal Storage Properties of Phase Change Materials and Product

B. International Building Code

C. ASHRAE Standard 62.1-2004, Ventilation for Acceptable Indoor Air Quality

D. NFPA 70 National Electrical Code

E. ASCE 7 American Society of Civil Engineers, Minimum Design Loads for Buildings and Other Structures

F. International Code Council-Evaluation Services - AC 156 Acceptance Criteria for Seismic Qualification Testing of Non-structural Components

G. International Code Council-Evaluation Services Report - Seismic Engineer Report


1. ESR 1308 - Armstrong Suspension Systems 

H. International Association of Plumbing and Mechanical Officials - Seismic Engineer Report


1. 0244 - Armstrong Single Span Suspension System

I. California Department of Public Health CDPH/EHLB Emission Standard Method Version 1.2 2017
J. LEED - Leadership in Energy and Environmental Design is a set of rating systems for the design, construction, operation, and maintenance of green buildings.
K. International Well Building Standard

L. Mindful Materials

M. Living Building Challenge

N. U.S. Department of Agriculture BioPreferred program (USDA BioPrefered).

1.4 SYSTEM DESCRIPTION 

Continuous/Wall-to-Wall
1.5 SUBMITTALS

A. Product Data: Submit manufacturer's technical data for each type of acoustical ceiling unit and suspension system required.
B. Samples: Minimum 10” x 10” sample of specified acoustical panel with phase change material and 6”x6” base panel sample; 8” samples of exposed wall molding and suspension system, including main runner and 4-foot cross tees.

C. Shop Drawings: Layout and details of acoustical ceilings containing phase change material and coordinating acoustical ceiling panels where cuts are needed, along with locations of items that are to be coordinated with or supported by the ceilings. 
D. Acoustical Certifications: Manufacturer's certifications that products comply with specified requirements, including laboratory reports showing compliance with specified tests and standards.  For acoustical performance, each carton of material must carry an approved independent laboratory classification of NRC, CAC, and AC.


a. If the material supplied by the acoustical subcontractor does not have an Underwriter's Laboratory classification of acoustical performance on every carton, subcontractor shall be required to send material from every production run appearing on the job to an independent or NVLAP approved laboratory for testing, at the architect's or owner's discretion.  All products not conforming to manufacturer's current published values must be removed, disposed of and replaced with complying product at the expense of the Contractor performing the work.

1.6 SUSTAINABLE MATERIALS 
Transparency: Manufacturers will be given preference when they provide documentation to support sustainable requirements for the following:  Material ingredient transparency, Removal of Red List Ingredients per LBCV3, Life Cycle impact information, Low-Emitting Materials, and Clean Air performance.
1. Health Product Declaration: The end use product has a published, complete Health Product Declaration with disclosure at a minimum of 1000ppm of known hazards in compliance with the Health Product Declaration Open Standard.

2.  Declare Label:  The end use product has a published Declare label by the International Living Future Institute with disclosure of 100 ppm with a designation of Red List Free or Compliant (less than 1% proprietary ingredients).

3.  Low Emitting products with VOC emissions data. Preference will also be given to manufacturers that can provide emissions data showing their products meet CDHP Standard Method v1.1 (Section 01350).

4.  Life cycle analysis : Products that have communicated lifecycle data through Environmental Product Declarations (EPDs) will be preferred.

5.  End of Life Programs/Recycling: Where applicable, manufacturers that provide the option for recycling of their products into new products at end-of-life through take-back programs will be preferred.

6. Products meeting LEED V4 requirements including:


Storage & Collection of Recyclables


Construction and Demolition Waste Management Planning


Building Life-Cycle Impact Reduction


Building Product Disclosure and Optimization Environmental Product Declarations


Building Product Disclosure and Optimization Sourcing of Raw Materials


Building Product Disclosure and Optimization Material Ingredients


Construction and Demolition Waste Management

1.7 QUALITY ASSURANCE

A. Single-Source Responsibility: Provide acoustical panels with phase change material, coordinating acoustical panels for border cuts and penetrations, and grid components by a single manufacturer.


1. Fire Performance Characteristics: Identify acoustical ceiling components with appropriate markings of applicable testing and inspecting organization.


2. Surface Burning Characteristics:  As follows, tested per ASTM E 84 and complying with ASTM E 1264 Classification.


3. Fire Resistance: As follows tested per ASTM E119 and listed in the appropriate floor or roof design in the Underwriters Laboratories Fire Resistance Directory

B. Acoustical Panels: As with other architectural features located at the ceiling, may obstruct or skew the planned fire sprinkler water distribution pattern through possibly delay or accelerate the activation of the sprinkler or fire detection systems by channeling heat from a fire either toward or away from the device. Designers and installers are advised to consult a fire protection engineer, NFPA 13, or their local codes for guidance where automatic fire detection and suppression systems are present.
C. Coordination of Work: Coordinate acoustical ceiling work with installers of related work including, but not limited to building insulation, gypsum board, light fixtures, mechanical systems, electrical systems, and sprinklers.

1.8 DELIVERY, STORAGE AND HANDLING

A. Deliver acoustical ceiling units to project site in original, unopened packages and store them in a fully enclosed space where they will be protected against damage from moisture, direct sunlight, surface contamination, and other causes.
B. Before installing acoustical ceiling units, permit them to reach room temperature and a stabilized moisture content.

C. Handle acoustical ceiling units carefully to avoid chipping edges or damaged units in any way.

D. Do not modify or cut panels with phase change material. Please refer to installation guide.
E. Use caution and wear appropriate hand, eye, and dust mask protection when handling mineral fiber materials. Refer to Armstrong Templok Ceilings SDS (which includes information on established occupational exposure limits), which are available from Armstrong World Industries (AWI).
1.9 PROJECT CONDITIONS

A. Space Enclosure: 

Standard Ceilings: Do not install interior ceilings until space is enclosed and weatherproof; wet work in place is completed and nominally dry; work above ceilings is complete; and ambient conditions of temperature and humidity are continuously maintained at values near those intended for final occupancy.  Building areas to receive ceilings shall be free of construction dust and debris. 


HumiGuard Plus Ceilings: Building areas to receive ceilings shall be free of construction dust and debris. Products with HumiGuard Plus performance and hot dipped galvanized steel, aluminum or stainless-steel suspension systems can be installed up to 120°F (49°C) and in spaces before the building is enclosed, where HVAC systems are cycled or not operating. Cannot be used in exterior applications where standing water is present or where moisture will come in direct contact with the ceiling.

1.10 ALTERNATE CONSTRUCTION WASTE DISPOSAL
A. Ceiling material being reclaimed must be kept dry and free from debris.
B. Contact the Armstrong Recycle Center a consultant will verify the condition of the material and that it meets the Armstrong requirements for recycling. The Armstrong consultant will provide assistance to facilitate the recycling of the ceiling.

C. Recycling may qualify for LEED Credits:


a. LEEDv4 - MRp2 - Construction Waste Management Planning Qualifies as a material stream (non-structural) targeted for diversion.  Ceilings will be source-separated and diverted through the Armstrong Ceiling Recycling Program.  


b. LEEDv4-MRc5 - 



i. Option 1: Divert ceilings to qualify for one of the 3 material streams (50%) 



ii. Option 2: Divert ceilings to qualify for one of the 4 material streams (75%)

           c. LEEDv5 – Construction and Waste Diversion 

                              i. Option 1:   Divert at least 50% of the total construction and demolition material              (At least 10% of diverted materials must be salvaged or source-separated and sent to
single-material recycler(s)



ii. Option 2: Divert at least 75% of the total construction and demolition material
1.11 WARRANTY
A. Acoustical Panel: Submit a written warranty executed by the manufacturer, agreeing to repair or replace panels that fail within the warranty period.  Failures include, but are not limited to the following:


1. Acoustical Panels with Phase Change Material: Thermal Energy Storage Capacity  


2. Acoustical Panels:  Sagging and warping


2. Grid System:  Rusting and manufacturer's defects

B. Warranty Period:


1. Acoustical panels with Phase Change Material: Ten (10) years from date of substantial completion


2. Acoustical panels: Ten (10) years from date of substantial completion


2. Suspension: Ten (10) years from date of substantial completion


3. Ceiling System: Thirty (30) years from date of substantial completion
C. The Warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and will be in addition to and run concurrent with other warranties made by the Contractor under the requirements of the Contract Documents.

1.12 MAINTENANCE

A. Extra Materials: Deliver extra materials to Owner.  Furnish extra materials described below that match products installed.  Packaged with protective covering for storage and identified with appropriate labels.


1. Acoustical Ceiling Units:  Furnish quality of full-size units equal to 5.0 percent of amount installed.


2. Exposed Suspension System Components:  Furnish quantity of each exposed suspension component equal to 2.0 percent of amount installed.
PART 2 - PRODUCTS

2.1 MANUFACTURERS

A. Ceiling Panels with Phase Change Material:

1. Armstrong World Industries, Inc.
B. Ceiling Panels:

1. Armstrong World Industries, Inc.

C.   Suspension Systems:


1. Armstrong World Industries, Inc.

D: Perimeter Systems


1. Armstrong World Industries, Inc.

2.2.1 ACOUSTICAL CEILING UNITS

A. Acoustical Panels Type AP with Phase Change Material  

1. Surface Texture:  Smooth

2. Composition:  Mineral Fiber


3. Color: White


4. Size:  24" x 24", 24" x 48"

5. Edge Profile: (Square Lay-In 15/16" for interface with PRELUDE XL 15/16" Exposed Tee grid) (Square Tegular 9/16” for interface with Suprafine XL Exposed Tee grid, Silhouette XL Bolt Slot grid, Interlude XL HRC Dimension grid) as manufactured by Armstrong World Ind Inc.

6. Noise Reduction Coefficient (NRC): ASTM C 423; Classified with UL label on product carton 0.85 


7. Ceiling Attenuation Class (CAC): ASTM C 1414; Classified with UL label on product carton 39 


8. Sabin: N/A


9. Flame Spread:  Class A: ASTM E84 and CAN/ULC S102 surface burning characteristics. Flame Spread Index of 25 or less. Smoke Developed Index of 50 or less. (Classified with UL label on product carton)

10. Light Reflectance (LR) White Panel: 0.85 ASTM E 1477


11. Dimensional Stability: HUMIGUARD Plus

12. Thermal Storage Capacity: 50 btu/sf. ASTM C1784

13. Material Ingredient Transparency: Health Product Declaration (HPD), CDPH Standard Method v1.2 2017 (Section 01350)

14. Acceptable Product: CALLA Templok Lay-In and Tegular, ____ No added formaldehyde as manufactured by Armstrong World Industries

B. Acoustical Panels Type AP for penetrations and border cuts 

1. Surface Texture:  Smooth

2. Composition:  Mineral Fiber


3. Color: White


4. Size:  24" x 24", 24" x 48"

5. Edge Profile: (Square Lay-In 15/16" for interface with PRELUDE XL 15/16" Exposed Tee grid) (Square Tegular 15/16” or 9/16” for interface with Suprafine XL Exposed Tee grid, Silhouette XL Bolt Slot grid, Interlude XL HRC Dimension grid) as manufactured by Armstrong World Ind Inc.


6. Noise Reduction Coefficient (NRC):  ASTM C 423; Classified with UL label on product carton 0.85

7. Ceiling Attenuation Class (CAC):  ASTM C 1414; Classified with UL label on product carton 35

8. Sabin: N/A


9. Articulation Class (AC):  


10. Flame Spread:  ASTM E 1264; E84 Class A (UL)


11. Light Reflectance (LR) White Panel: 0.85  ASTM E 1477


12. Dimensional Stability: HUMIGUARD Plus


13. Material Ingredient Transparency: Health Product Declaration (HPD); Declare Label


14. Life Cycle Assessment: Third Party Certified Environment Product Declaration (EPD)

15. Acceptable Product: CALLA Lay-In and Tegular, ____ No added formaldehyde as manufactured by Armstrong World Industries

2.3.1 METAL SUSPENSION SYSTEMS

A. Components:


Main beams and cross tees, base metal, and end detail, fabricated from commercial quality hot dipped galvanized steel complying with ASTM A 653.  Main beams and cross tees are double-web steel construction with type exposed flange design.  Exposed surfaces chemically cleansed, capping prefinished galvanized steel in baked polyester paint.  Main beams and cross tees shall have rotary stitching.


a. Structural Classification:  ASTM C 635 (Intermediate Duty) (Heavy Duty)

b. Color: White and match the actual color of the selected ceiling tile, unless noted otherwise.


c. Sustainability: Environmental Product Declaration (EPD), Health Product Declaration (HPD)


d. Acceptable Product: (PRELUDE XL 15/16" Exposed Tee) (Suprafine XL 9/16” Exposed Tee) (Silhouette XL 9/16” Blot Slot) (Interlude XL HRC 9/16” Dimensional) as manufactured by Armstrong World Industries

B. Attachment Devices: Size for five times design load indicated in ASTM C 635, Table 1, Direct Hung unless otherwise indicated.
C. Wire for Hangers and Ties: ASTM A 641, Class 1 zinc coating, soft annealed, with a yield stress load of at least time three design load, but not less than 12 gauge.

D. Edge Moldings and Trim:


1. 7800 - 12' Wall Molding

E. Accessories: 

PART 3 - EXECUTION

3.1 EXAMINATION

A. Do not proceed with installation until all wet work such as concrete, terrazzo, plastering and painting has been completed and thoroughly dried out, unless expressly permitted by manufacturer's printed recommendations.  (Exception: HumiGuard Max Ceilings)
3.2 PREPARATION

A. Measure each ceiling area and establish layout of acoustical units to balance border widths at opposite edges of each ceiling.  Avoid use of less than half width units at borders and comply with reflected ceiling plans.  Coordinate panel layout with mechanical and electrical fixtures.
B. Coordination: Furnish layouts for preset inserts, clips, and other ceiling anchors whose installation is specified in other sections.


1. Furnish concrete inserts and similar devices to other trades for installation well in advance of time needed for coordination of other work.
3.3 INSTALLATION

A. Follow manufacturer installation instructions.
B. Install suspension system and panels in accordance with the manufacturer's instructions, and in compliance with ASTM C 636 and with the authorities having jurisdiction.

C. Suspend main beam from overhead construction with hanger wires spaced 4-0 on center along the length of the main runner.  Install hanger wires plumb and straight.

D. Install wall moldings at intersection of suspended ceiling and vertical surfaces.  Miter corners where wall moldings intersect or install corner caps.

F. Install acoustical panels in coordination with suspended system, with edges resting on flanges of main runner and cross tees. Support edges by wall moldings. For perimeter ceiling units or ceiling units with MEP or ceiling mounted devices, cut and fit non-PCM panels neatly against abutting surfaces and/or to accommodate MEP devices. For all full tiles not requiring cuts or modification, install full 24”x24” CALLA Templok panels with Phase Change Material thermal storage benefit. 
3.4 ADJUSTING AND CLEANING

A. Replace damaged and broken panels. Refer to the SDS for more information on safety, handling, and disposal of Templok tiles.

B. Clean exposed surfaces of acoustical ceilings, including trim, edge moldings, and suspension members.  Comply with manufacturer's instructions for cleaning and touch up of minor finish damage.  Remove any ceiling products that cannot be successfully cleaned and or repaired. Replace with attic stock or new product to eliminate evidence of damage.

C. Before disposing of ceilings, contact the Armstrong Recycling Center at 877-276-7876, select option #1 then #8 to review with a consultant the condition and location of building where the ceilings will be removed. The consultant will verify the condition of the material and that it meets the Armstrong requirements for recycling. The Armstrong consultant will provide assistance to facilitate the recycle of the ceiling. 
