SECTION 09 51 13

Axiom Roller Shade Integration

PART 1 – GENERAL

  - RELATED DOCUMENTS

1.2 SUMMARY

A.	Section Includes:

1.	Pre-engineered perimeter transition system

B.	Related sections:

1.	Section 09 51 00 – Acoustical Ceilings

2.	Section 09 20 00 – Plaster and Gypsum Board

3.	Division 12 24 00 – Window Shades – Lutron

4.	Division 23 – HVAC

5.	Division 26 – Sections – Electrical Work

C.	Alternates

1.	Prior Approval: Unless otherwise provided for in the Contract documents, proposed product substitutions may be submitted no later than TEN (10) working days prior to the date established for receipt of bids. Acceptability of a proposed substitution is contingent upon the Architect's review of the proposal for acceptability and approved products will be set forth by the Addenda.  If included in a Bid are substitute products which have not been approved by Addenda, the specified products shall be provided without additional compensation.

2.	Submittals that do not provide adequate data for the product evaluation will not be considered.  The proposed substitution must meet all requirements of this section, including but not necessarily limited to, the following: Single source materials suppliers (in specified in Section 1.5); panel design, size composition, color, and finish; suspension system component profiles and sizes; compliance with the referenced standards.

1.3 REFERENCES

A.	American Society for Testing and Materials (ASTM)

1.	ASTM C 635 Standard Specification for Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings.

2.	ASTM C 636 Recommended Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels.

3.	ASTM E 580 Installation of Metal Suspension Systems in Areas Requiring Moderate Seismic Restraint

4.	ASCE 7 American Society of Civil Engineers, Minimum Design Loads for Buildings and Other Structures

5.	International Code Council-Evaluation Services – AC 156 Acceptance Criteria for Seismic Qualification Testing of Non-structural Components

6.	LEED – Leadership in Energy and Environmental Design is a set of rating systems for the design, construction, operation, and maintenance of green buildings

B.	American National Standards Institute (ANSI)

1.	ANSI H35.1 Properties and Characteristics of Wrought Aluminum Alloys

1.4 SUBMITTALS

A.	Product Data: Submit manufacturer's technical data for perimeter components and each type of suspension system required.

B.	Samples: Minimum 3 inch wide samples of specified component.

C.	Shop Drawings: Layout and details of acoustical ceilings.  Show locations of items that are to be coordinated with, or supported by the ceilings.

1.5 SUSTAINABLE MATERIALS

A. Transparency: Manufacturers will be given preference when they provide documentation to support sustainable requirements for the following:  Material ingredient transparency, Removal of Red List Ingredients per LBCV3, Life Cycle impact information, Low-Emitting Materials, and Clean Air performance.

- Health Product Declaration (HPD). The end use product has a published, complete Health Product Declaration with disclosure at a minimum of 1000ppm of known hazards in compliance with the Health Product Declaration Open Standard.

- Declare Label.  The end use product has a published Declare label by the International Living Future Institute with disclosure of 100 ppm with a designation of Red List Free or Compliant (less than 1% proprietary ingredients).

- Low Emitting products with VOC emissions data. Preference will be given to manufacturers that can provide emissions data showing their products meet any of the following: CDPH/EHLB/Standard Method v1.2-2017; Indoor Air Quality Certified to SCS-105 v4.2-2023 [Gold VOC Certificate OR Clearchem]

- Life cycle analysis. Products that have communicated lifecycle data through Environmental Product Declarations (EPDs) will be preferred.

- End of Life Programs/Recycling: Where applicable, manufacturers that provide the option for recycling of their products into new products at end-of-life through take-back programs will be preferred.

- Products meeting LEED V4 requirements including:

- Storage & Collection of Recyclables

- Construction and Demolition Waste Management Planning

- Building Life-Cycle Impact Reduction

- Building Product Disclosure and Optimization Environmental Product Declarations

- Building Product Disclosure and Optimization Sourcing of Raw Materials

- Building Product Disclosure and Optimization Material Ingredients

- Construction and Demolition Waste Management

1.6 QUALITY ASSURANCE

A.	Single-Source Responsibility: Provide perimeter trim components by a single manufacturer

B.	Coordination of Work: Coordinate acoustical ceiling work with installers of related work including, but not limited to building insulation, gypsum board, light fixtures, mechanical systems, electrical systems, and sprinklers.

1.7 DELIVERY, STORAGE, AND HANDLING

A.	Deliver perimeter trim components to project site in original, unopened packages and store them in a fully enclosed space where they will be protected against damage from moisture, direct sunlight, surface contamination, and other causes.

B.	Before installing components, permit them to reach room temperature and a stabilized moisture content.

C.	Handle components carefully to avoid damage.

1.8 PROJECT CONDITIONS

A. Space Enclosure:

Building areas to receive ceilings shall be free of construction dust and debris.  Products can be installed up to 120° F (49° C) and in spaces before the building is enclosed, where HVAC systems are cycled or not operating. Cannot be used in exterior applications where standing water is present or where moisture will come in direct contact with the ceiling.

1.9. WARRANTY

A.	Perimeter Transition System: Submit a written warranty executed by the manufacturer, agreeing to repair or replace components that fail within the warranty period.  Failures include, but are not limited to

1.	Rusting and manufacturer's defects

B.	Warranty Period:

1.	Perimeter Transition Components: Ten (10) years from date of substantial completion.

2.	Armstrong commercial transition components, suspension systems, and ceiling products have a thirty (30) year warranty when installed together and used under normal conditions.

C.	The Warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and will be in addition to and run concurrent with other warranties made by the Contractor under the requirements of the Contract Documents.

PART 2 – PRODUCTS

Attention Design Professional: Please edit Part 2 based on your project needs. Select product attributes and acceptable product item (s) that fit with the requirements of your project. Delete all items from the specification that do not relate to your project needs. Please refer to the Armstrong website for additional ceilings, suspension systems, perimeter trim options, and accessories. The related guide specifications for each of these items are available on the Armstrong website.

2.1 WARRANTY

A.	Ceiling Panels:

1.	Armstrong World Industries, Inc.

B.	Suspension Systems:

1.	Armstrong World Industries, Inc.

C.	Axiom Shade Pockets:

1.	Armstrong World Industries, Inc.

D.	Shades:

1.	Lutron Window Shades

2.2 ACOUSTICAL CEILING UNITS

A.	Acoustical Panels Type ACT (Armstrong Calla Panel Selection):

1.	Surface Texture: Smooth

2.	Composition: Mineral Fiber

3.	Color: White

4.	Size: Refer to drawings

5.	Edge Profile: Square Tegular 9/16" for interface

6.	Noise Reduction Coefficient (NRC): ASTM C 423; Classified UL label on product carton 0.85

7.	Ceiling Attenuation Class (CAC): ASTM C 1414; Classified UL label on product carton 35

8.	Sabin: N/A

9.	Articulation Class (AC): ASTM E 1111; 170

10.	Flame Spread: ASTM E 1264; Class A (HPVA)

11.	Light Reflectance White Panel: ASTM E 1477; 0.86

12.	Dimensional Stability: HumiGuard Plus

13.	Recycle Content: Post-Consumer – 3% Pre-Consumer Waste – 73%

14.	Acceptable Product: Calla, as manufactured by Armstrong World Industries, Inc.

B.	Acoustical Panels Type ACT (Armstrong Lyra Panel Selection):

1.	Surface Texture: Fine

2.	Composition: Fiberglass

3.	Color: White

4.	Size: Refer to drawings

5.	Edge Profile: Tegular 9/16" for interface

6.	Noise Reduction Coefficient (NRC): ASTM C 423; Classified with UL label on product carton, N/A

7.	Ceiling Attenuation Class (CAC): ASTM C 1414; Classified with UL label on product carton, N/A

8.	Flame Spread: ASTM E 1264; Class A

9.	Light Reflectance (LR): ASTM E 1477; White Panel: Light Reflectance: 0.90

10.	Dimensional Stability: HumiGuard Plus – Temperature is between 32°F (0° C) and 120° F (49° C). It is not necessary for the area to be enclosed or for HVAC systems to be functioning.  All wet work (plastering, concrete, etc.) must be complete and dry.

11.	Antimicrobial Protection

12.	Acceptable Product: Armstrong Lyra, as manufactured by Armstrong World Industries, Inc.

C.	Acoustical Panels Type ACT (Ultima Panel Selection):

1.	Surface Texture: Fine

2.	Composition: Mineral Fiber

3.	Color: White

4.	Size: 24" x 24"

5.	Edge Profile: Tegular 9/16" for interface

6.	Noise Reduction Coefficient (NRC): ASTM C 423; Classified with UL label on product carton, N/A

7.	Ceiling Attenuation Class (CAC): ASTM C 1414; Classified with UL label on product carton, N/A

8.	Flame Spread: ASTM E 1264; Class A

9.	Light Reflectance (LR): ASTM E 1477; White Panel: Light Reflectance: 0.90

10.	Dimensional Stability: HumiGuard Plus – Temperature is between 32° F (0° C) and 120° F (49° C).  It is not necessary for the area to be enclosed or for the HVAC systems to be functioning.  All wet work (plastering, concrete, etc.) but be complete and dry.

11.	Recycle Content: Post-Consumer – 1% - 2% Pre-Consumer Waste – 76%

12.	Acceptable Product: Armstrong Ultima, as manufactured by Armstrong World Industries

D.	Acoustical Panels Type ACT (Optima Panel Selection):

1.	Surface Texture: Fine

2.	Composition: Fiberglass

3.	Color: White

4.	Size: Refer to drawings

5.	Edge Profile: Tegular 9/16" for interface

6.	Noise Reduction Coefficient (NRC): ASTM C 423; Classified UL label on product carton, N/A

7.	Ceiling Attenuation Class (CAC): ASTM C 1414; Classified UL label on product carton, N/A

8.	Flame Spread: ASTM E 1264; Class A

9.	Light Reflectance (LR): ASTM E 1477; White Panel: Light Reflectance: 0.90

10.	Dimensional Stability: HumiGuard Plus – Temperature is between 32° F (0° C) and 120° F (0° C).  It is not necessary for the area to be enclosed or for HVAC systems to be functioning.  All wet work (plastering, concrete, etc.) must be complete and dry.

11.	Recycle Content: Post-Consumer – 1% - 2% Pre-Consumer Waste – 71%

12.	Acceptable Product: Armstrong Optima, as manufactured by Armstrong World Industries, Inc.

2.3 ACOUSTICAL SUSPENSION SYSTEM

A.	Acoustical Suspension System

1.	Armstrong Suprafine Selection

a.	Composition: Hot-dipped Galvanized Steel

b.	Color: White

c.	Profile Height: 1-11/16"

d.	Profile: PeakForm with SuperLock Main runner clip and XL² Stake-on end detail on Cross-tee

e.	Flange: 9/16"

f.	Acceptable Product: Suprafine XL 9/16" Exposed Tee System as manufactured by Armstrong World Industries, Inc.

2.	Armstrong Interlude Selection

a.	Composition: Hot-dipped Galvanized Steel

b.	Color: White

c.	Profile Height: 1-11/16"

d.	Profile: Square bulb with XL² Stake-on clips on Main runner and Cross-tee

e.	Flange: 9/16" Interlude dimensional design

f.	Acceptable Product: Interlude XL 9/16" Dimensional Tee System as manufactured by Armstrong World Industries, Inc.

3.	Armstrong Silhouette ¼" Selection

a.	Composition: Hot-dipped Galvanized Steel

b.	Color: White

c.	Profile Height: 1-3/4"

d.	Edge Profile: for interface with Silhouette XL 9/16" Bolt Slot – ¼" Reveal

e.	Flame Spread: ASTM E 1264

f.	Acceptable Product: Silhouette XL 9/16" Bolt Slot – ¼" Reveal, as manufactured by Armstrong World Industries, Inc.

4.	Armstrong Silhouette 1/8" Selection

a.	Composition: Hot-dipped Galvanized Steel

b.	Color: White

c.	Profile Height: 1-3/4"

d.	Edge Profile: for interface with Silhouette XL 9/16" Bolt Slot – 1/8" Reveal.

e.	Flame Spread: ASTM E 1264

f.	Acceptable Product: Silhouette XL 9/16" Bolt Slot – 1/8" Reveal, 76198 as manufactured by Armstrong World Industries, Inc.

2.4 PERIMETER TRIM SYSTEM

A.	Product/Manufacturer: Axiom Building Perimeter System; Armstrong World Industries, Inc. compatible with Lutron Window Systems

    - Material Ingredient Transparency: Health Product Declaration (HPD); Declare Label

    - Life Cycle Assessment: Third Party Certified Environmental Product Declaration (EPD)

    - Indoor Air Quality Certified to SCS-105 v4.2-2023

B.	System: An extruded aluminum trim used to create the transition between the perimeter and the ceiling plane. Commercial quality extruded aluminum alloy 6063 trim channel, factory finished in baked polyester paint (white) color to match intersecting grid system. Commercial quality aluminum unfinished t-bar connection clips; galvanized steel splice plates.

C.	Components:

1.	3-Sided Axiom Building Perimeter Pocket: Aluminum pocket formed with special bosses to accept t-bar connection clip and splice plates, wire management clip (provided with Lutron Roller Shade), factory finished to match approved samples; factory or field cut miters to match approved shop drawings.

a.	AXP355L – 3-Sided Perimeter Pocket, Acoustical/Drywall Transition (5" x 5" x 5") with Integral Bracket Connection for Lutron Roller Shade

b.	AXP355LD – 3-Sided Perimeter Pocket, Acoustical/Drywall Transition (120" x 5" x 5") with Integral Bracket Connection for Lutron Roller Shade

c.	AXP355LS – 3-Sided Perimeter Pocket, Acoustical/Drywall Transition for seismic installation, 0.875 horizontal flange (5" x 5" x 5") with Integral Bracket Connection for Lutron Roller Shade

d.	AXP355LE – 3-Sided Perimeter Pocket, Exposed (5" x 5" x 5") with Integral Bracket Connection for Lutron Roller Shade

e.	AXP355LEXX – 3-Sided Perimeter Pocket in (Color), Exposed 5" x 5" x 5") with Integral Bracket Connection for Lutron Roller Shade

2.	Axiom Building Perimeter Custom Pocket: Aluminum formed pocket with special bosses to accept t-bar connection clip and splice plate; factory finished to match approved samples; factory cut miters to match approved shop drawings.

a.	Pocket Type: 2-sided or 3-sided

b.	Material: 0.063 or 0.090 Aluminum

c.	Size W" x H"

d.	Ceiling Integration:

i.	AXPNP34A – No Pocket, ¾" Acoustical Flange with Closure Clip Attachment (2-11/16" x ¾") or

ii.	AXPNP34ANR – No Pocket, ¾" Acoustical Flange (No Reveal) with Closure Clip Attachment (2-11/16" x ¾") or

iii.	AXPNPA125A – No Pocket, 1-1/4" Acoustical Flange with Closure Clip Attachment (2-11/16" x 1-1/4") or

  - AXPNP38D – No Pocket Drywall Taping Flange, 3/8" Reveal with Closure Clip Attachment (3-7/16" x 1-3/16") or

  - v.	AXPNPD – No Pocket Drywall Taping Flange with Closure Clip Attachment (2-11/16" x ¾") or

  - vi.	AXPNPFPA – No Pocket Drywall Taping Flange with Face Place and Closure Clip Attachment (3-11/16" x 1/8")

e. Color: Armstrong Global White

D.	Axiom Building Perimeter Closure Clips: Aluminum clip to conceal pocket when shade is installed

1.	AXPCC3L – Axiom Building Perimeter Closure Clip – 3" with screw slot for integrated tether in White

2.	AXPCC3LXX – Axiom Building Perimeter Closure Clip – 3" with screw slot for integrated tether in (Color)

E.	Axiom Bottom Drywall Trim, AXBTSTR, (for 5/8" drywall): aluminum extrusions formed to provide taping flange for drywall finish.

F.	Axiom Building Corners:

1.	AXP355LDIC – 3-Sided Perimeter Pocket – Inside Corner

2.	AXP355LDOC – 3-Sided Perimeter Pocket – Outside Corner

G.	Axiom Building Perimeter End Cap, Caps end of perimeter pocket

1.	AXP355LECL – 3-Sided Perimeter Pocket End Cap - Left

2.	AXP355LECR – 3-Sided Perimeter Pocket End Cap – Right

3.	AXP355LSECL – 3-Sided Seismic Perimeter Pocket End Cap – Left

4.	AXP355LSECR – 3-Sided Perimeter Pocket End Cap

5.	AXP355LEECXX – 3-Sided Perimeter Pocket End Cap – (Color)

H.	Axiom Building Perimeter Accessories

1.	T-bar Connector Clip: galvanized steel, unfinished, used to attach channel trim to suspension members

a.	AXTBC – for use with drywall, lay-in, Tegular, concealed tile, and full-size Vector installations.

b.	AXVTBC – for use with cut Vector panels

2.	Splice Clips: splice with set screws, galvanized steel, unfinished, used to attach joints between sections of trim.

a.	AXSPLICE – Splice with 2 set screws, used to join corners

b.	AX4SPLICE – Splice with 4 set screws, used to join straight section

3.	Foam Gasket: 10 foot long gasket, ½" x ½", self-stick for field application; used between perimeter pocket and wall (Optional).

4.	AXPWCCP2 – Wall Clip

5.	BERCAST: Axiom Beam End Retaining Clip for Seismic Applications

2.5 SHADE MANUFACTURER

A.	Product/Manufacturer: Lutron Window Shading

B.	Product Name: Sivoia QS Roller Shade by Lutron Electronics Co., Inc.; 7200 Suter Road, Coopersburg, PA 18036-1299 Telephone (800) 523-9466, www.lutron.com

C.	Ceiling Grid Compatibility: Armstrong World Industries, Inc.

PART 3 – EXECUTION

3.1 EXAMINATION

A. Do not proceed with installation until all wet work such as concrete, terrazzo, plastering, and painting has been completed and thoroughly dried out, unless expressly permitted by manufacturer's printed recommendations.

3.2 PREPARATION

A. Coordinate panel layout with mechanical and electrical fixtures.

3.3 INSTALLATION

A.	Install suspension system and panels in accordance with manufacturer's instructions.

1.	Install seismic components if required by the building code.  Seismic components to be specified on the architectural plans by the project engineer or design team.

3.4 ADJUSTING AND CLEANING

1. Clean exposed surfaces of trim, edge moldings, and suspension members.  Comply with manufacturer's instructions for cleaning and touch up of minor finish damage.  Remove and replace work that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage.

END OF SECTION